# Secure EG4V (10, 11 or 15)

Information on how find your top up code and use this type of Smart PAYG meter.

## How to enter your top up code

- Press the blue A button on your meter.

- You should see 'Vend Mode' on the display.

- Enter the entire top-up code/UTRN you got on your email, SMS or receipt.

- If you make a mistake, you can delete the last number by pressing the blue A button.

- Once you've entered all 20 digits, press the red B button on your meter.

- Your top-up transaction should now be processed and credited to your meter and you will see the word "Accepted".

- If you see another message; these are the possible reasons:

  - Rejected, Duplicate - Your top-up has already been credited to your meter.

  - Rejected, Incorrect - The top-up code has been entered incorrectly, please try again.

  - Rejected, Incomplete - You have not entered the entire top-up code and need to start again.

  - Rejected, Invalid - This means you could be at the wrong meter - check what meter the top-up is for - ie. electricity or gas meter, and ensure you are at that meter.

## How to turn your gas back on

First you need to check that there's nothing been left on that might be dangerous if your gas was to start up.

- Press the blue A button. The meter will light up and the screen will say ‘PRESS A TO CONNECT’.

- Press A again and the meter will display ‘PRESS B TO CONFIRM’.

- Press the B button and the gas supply should now be reconnected.

### How to activate Emergency Credit

- Press the "#" button on the keypad of your Liberty 100 or 110 Smart Meter until you see the "EC" or "emergency credit" display.

- The display will show you the amount of emergency credit available to you. Press the "A" button to confirm that you want to use the emergency credit.

- Once you have confirmed that you want to use the emergency credit, the meter will automatically add the credit to your balance.

- The amount of emergency credit available to you will be deducted from your next top-up. You will also be charged a daily standing charge for the use of the emergency credit, which will be deducted from your meter balance.